## Sheet1
[5 empty] | SPECTRAL RESPONSE CORRECTION |  |  |  | CALIBRATION COEFFICIENTS
Wavelength [nm] | Typical | Actual | Normalized
340 | 35511300000000000 | 44540600000000000 | 646.5716 |  |  |  | A0+B1_*pix+B2_*POWER(pix,2)+B3_*POWER(pix,3)+B4_*POWER(pix,4)+B5_*POWER(pix,5)
400 | 64586500000000000 | 63759400000000000 | 979.0859
450 | 59557700000000000 | 64968200000000000 | 1000 | [10 empty] | Pix | Waw. | Semsitivity | Normalized | Factor | Pix | Waw. | Semsitivity | Normalized | Factor | Pix | Waw. | Semsitivity | Normalized | Factor | Pix | Waw. | Semsitivity | Normalized | Factor | Pix | W.length | Semsitivity | Normalized | Factor | Pix | Waw. | Semsitivity | Normalized | Factor
500 | 57024200000000000 | 47367700000000000 | 695.4847 | [10 empty] | 1 | 309.5535 | 45106555351522816 | 656.3635 | 1.5235 | 51 | 440.8007 | 64745797393076808 | 996.1521 | 1.0039 | 101 | 561.4083 | 43116223665321216 | 621.9277 | 1.6079 | 151 | 667.8617 | 32894626288700832 | 445.0786 | 2.2468 | 201 | 758.546 | 19696558853128176 | 216.7321 | 4.614 | 251 | 833.8134 | 8983587113354304 | 31.3814 | 31.866
550 | 48602700000000000 | 43341400000000000 | 625.8236 |  |  |  |  | A0 | B1 | B2 | B3 | B4 | B5 | 2 | 312.2511 | 45106555351522816 | 656.3635 | 1.5235 | 52 | 443.3319 | 64806991611212416 | 997.2109 | 1.0028 | 102 | 563.6846 | 43071293306066016 | 621.1504 | 1.6099 | 152 | 669.832 | 32562810470863696 | 439.3377 | 2.2762 | 202 | 760.1978 | 19482692889979824 | 213.0319 | 4.6941 | 252 | 835.1744 | 8831080319575648 | 28.7428 | 34.7913
600 | 48599800000000000 | 42354500000000000 | 608.7488 |  |  |  |  | 306.8538 | 2.7008 | -0.0010629 | -8.3753e-06 | 1.1757e-08 | 1.798e-12 | 3 | 314.9465 | 45106555351522816 | 656.3635 | 1.5235 | 53 | 445.8587 | 64868080607888824 | 998.2678 | 1.0017 | 103 | 565.9552 | 43026476350949192 | 620.375 | 1.6119 | 153 | 671.796 | 32232068778876528 | 433.6154 | 2.3062 | 203 | 761.8435 | 19223936206862512 | 208.555 | 4.7949 | 253 | 836.5301 | 8679162325209120 | 26.1144 | 38.293
655 | 42144400000000000 | 35060600000000000 | 482.5532 | [10 empty] | 4 | 317.6396 | 45106555351522816 | 656.3635 | 1.5235 | 54 | 448.3812 | 64929063533538936 | 999.3229 | 1.0007 | 104 | 568.22 | 42981773198615304 | 619.6015 | 1.6139 | 154 | 673.7535 | 31902402006479808 | 427.9116 | 2.3369 | 204 | 763.4829 | 18966156313265024 | 204.095 | 4.8997 | 254 | 837.8806 | 8527830007045792 | 23.4961 | 42.5602
710 | 29174400000000000 | 25798300000000000 | 322.3014 | [10 empty] | 5 | 320.3303 | 45106555351522816 | 656.3635 | 1.5235 | 55 | 450.8992 | 64651665524502752 | 994.5235 | 1.0055 | 105 | 570.4791 | 42937184241700960 | 618.8301 | 1.616 | 155 | 675.7047 | 31573810894337040 | 422.2265 | 2.3684 | 205 | 765.1162 | 18709351379645616 | 199.6519 | 5.0087 | 255 | 839.2259 | 8377080204142128 | 20.8879 | 47.8745
760 | 20978000000000000 | 19513800000000000 | 213.5701 |  |  |  |  | A0: pix=; B1: 288 | 6 | 323.0187 | 45106555351522816 | 656.3635 | 1.5235 | 56 | 453.4128 | 63766860909929856 | 979.215 | 1.0212 | 106 | 572.7323 | 42892709866830600 | 618.0606 | 1.618 | 156 | 677.6495 | 31246296129998704 | 416.56 | 2.4006 | 206 | 766.7432 | 18453519525175856 | 195.2256 | 5.1223 | 256 | 840.5661 | 8226909717795888 | 18.2898 | 54.6754
810 | 13164700000000000 | 11652000000000000 | 77.549 | [10 empty] | 7 | 325.7047 | 45106555351522816 | 656.3635 | 1.5235 | 57 | 455.9219 | 62883637211620448 | 963.9339 | 1.0374 | 107 | 574.9797 | 42848350454612176 | 617.2931 | 1.62 | 157 | 679.5879 | 30919858347865632 | 410.9121 | 2.4336 | 207 | 768.3641 | 18198658817706608 | 190.8161 | 5.2406 | 257 | 841.9011 | 8077315311522016 | 15.7016 | 63.6879
850 | 8048300000000000 | 7169790000000000 | 0 | [10 empty] | 8 | 328.3882 | 45106555351522816 | 656.3635 | 1.5235 | 58 | 458.4264 | 62002006385681792 | 948.6804 | 1.0541 | 108 | 577.2213 | 42804106379632944 | 616.5276 | 1.622 | 158 | 681.5199 | 30594498129153024 | 405.2829 | 2.4674 | 208 | 769.9788 | 17944767273734176 | 186.4234 | 5.3641 | 258 | 843.231 | 7928293711028352 | 13.1233 | 76.2006
[14 empty] | 9 | 331.0691 | 45106555351522816 | 656.3635 | 1.5235 | 59 | 460.9265 | 61121980284568704 | 933.4546 | 1.0713 | 109 | 579.457 | 42759978010455168 | 615.7641 | 1.624 | 159 | 683.4455 | 30270216001853824 | 399.6723 | 2.502 | 209 | 771.5874 | 17691842858366336 | 182.0474 | 5.4931 | 259 | 844.5558 | 7779841604191488 | 10.5548 | 94.7435
[8 empty] | A0: Wavelength[nm]=; B2: 880.9096 | 10 | 333.7475 | 45106555351522816 | 656.3635 | 1.5235 | 60 | 463.4219 | 60243570657007296 | 918.2568 | 1.089 | 110 | 581.6868 | 42715965709611888 | 615.0027 | 1.626 | 160 | 685.3647 | 29947012440702480 | 394.0804 | 2.5376 | 210 | 773.1898 | 17439883485288432 | 177.6882 | 5.6278 | 260 | 845.8756 | 7631955641032624 | 7.9962 | 125.0599
[14 empty] | 11 | 336.4233 | 45106555351522816 | 656.3635 | 1.5235 | 61 | 465.9126 | 59366789147919200 | 903.0871 | 1.1073 | 111 | 583.9107 | 42672069833602640 | 614.2432 | 1.628 | 161 | 687.2775 | 29624887867138672 | 388.5072 | 2.574 | 211 | 774.7861 | 17188887016729392 | 173.3455 | 5.7688 | 261 | 847.1903 | 7484632433693312 | 5.4473 | 183.5788
[14 empty] | 12 | 339.0965 | 45106555351522816 | 656.3635 | 1.5235 | 62 | 468.3988 | 58491647298345632 | 887.9458 | 1.1262 | 112 | 586.1287 | 42628290732889232 | 613.4857 | 1.63 | 162 | 689.1839 | 29303842649270848 | 382.9526 | 2.6113 | 212 | 776.3763 | 16938851263427952 | 169.0196 | 5.9165 | 262 | 848.5 | 7337868556411392 | 2.908 | 343.8774
[14 empty] | 13 | 341.7669 | 45106555351522816 | 656.3635 | 1.5235 | 63 | 470.8802 | 57618156545371392 | 872.8331 | 1.1457 | 113 | 588.3408 | 42584628751891424 | 612.7303 | 1.632 | 163 | 691.0839 | 28983877101840048 | 377.4167 | 2.6496 | 213 | 777.9604 | 16689773984598560 | 164.7101 | 6.0713 | 263 | 849.8048 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 14 | 344.4345 | 45961044490775712 | 671.1474 | 1.49 | 64 | 473.3569 | 56746328222048992 | 857.7492 | 1.1658 | 114 | 590.547 | 42541084228982736 | 611.9769 | 1.634 | 164 | 692.9774 | 28664991486183376 | 371.8995 | 2.6889 | 214 | 779.5384 | 16441652887897536 | 160.4173 | 6.2337 | 264 | 851.1047 | 7191660545496752 | 0.37839 | 2642.7512
| Sensitivity [counts/W･sec] | [12 empty] | 15 | 347.0994 | 46814636261898768 | 685.9159 | 1.4579 | 65 | 475.8289 | 55876173557322496 | 842.6942 | 1.1867 | 115 | 592.7471 | 42497657496486160 | 611.2256 | 1.6361 | 165 | 694.8646 | 28347186010197808 | 366.401 | 2.7293 | 215 | 781.1104 | 16194485629389104 | 156.1409 | 6.4045 | 265 | 852.3996 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 16 | 349.7614 | 47667315886371312 | 700.6685 | 1.4272 | 66 | 478.2961 | 55007703675951744 | 827.6683 | 1.2082 | 116 | 594.9413 | 42454348880669872 | 610.4763 | 1.6381 | 166 | 696.7453 | 28030460828303792 | 360.9212 | 2.7707 | 216 | 782.6763 | 15948269813511552 | 151.881 | 6.5841 | 266 | 853.6897 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 17 | 352.4206 | 48519068677088960 | 715.4051 | 1.3978 | 67 | 480.7584 | 54140929598436448 | 812.6718 | 1.2305 | 117 | 597.1295 | 42411158701743032 | 609.729 | 1.6401 | 167 | 698.6196 | 27714816041408976 | 355.4601 | 2.8133 | 217 | 784.2362 | 15703002993043168 | 147.6375 | 6.7733 | 267 | 854.975 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 18 | 355.0767 | 49369880038433072 | 730.1254 | 1.3696 | 68 | 483.2159 | 53275862240940160 | 797.7049 | 1.2536 | 118 | 599.3116 | 42368087273851488 | 608.9838 | 1.6421 | 168 | 700.4875 | 27400251696871824 | 350.0176 | 2.857 | 218 | 785.79 | 15458682669068464 | 143.4104 | 6.973 | 268 | 856.2554 | 7191660545496752 | 0.37839 | 2642.7512
| 71697900000000000 | [12 empty] | 19 | 357.7299 | 50219735466339664 | 744.8292 | 1.3426 | 69 | 485.6686 | 52412512415214144 | 782.7676 | 1.2775 | 119 | 601.4877 | 42157200774800512 | 605.3352 | 1.652 | 169 | 702.349 | 27086767788465232 | 344.5939 | 2.902 | 219 | 787.3378 | 15215306290944144 | 139.1996 | 7.1839 | 269 | 857.5311 | 7191660545496752 | 0.37839 | 2642.7512
|  | Value to interpolate: | 480 | [10 empty] | 20 | 360.3801 | 51068620548368560 | 759.5162 | 1.3166 | 70 | 488.1163 | 51550890828521760 | 767.8602 | 1.3023 | 120 | 603.6578 | 41869412867251360 | 600.356 | 1.6657 | 170 | 704.2041 | 26774364256340304 | 339.1888 | 2.9482 | 220 | 788.8797 | 14972871256265216 | 135.0051 | 7.4071 | 270 | 858.8021 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 21 | 363.0272 | 51916520963772608 | 774.1862 | 1.2917 | 71 | 490.5591 | 50691008083562336 | 752.983 | 1.3281 | 121 | 605.8218 | 41582428915670848 | 595.3908 | 1.6796 | 171 | 706.0527 | 26463040986989920 | 333.8025 | 2.9958 | 221 | 790.4156 | 14731374910831024 | 130.8269 | 7.6437 | 271 | 860.0683 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 22 | 365.6712 | 52763422483566656 | 788.8389 | 1.2677 | 72 | 492.9969 | 49832874678395104 | 738.136 | 1.3548 | 122 | 607.9798 | 41296250867513424 | 590.4394 | 1.6937 | 172 | 707.895 | 26152797813212464 | 328.4348 | 3.0447 | 222 | 791.9455 | 14490814548611408 | 126.6648 | 7.8949 | 272 | 861.3299 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 23 | 368.312 | 53609310970596736 | 803.474 | 1.2446 | 73 | 495.4297 | 48976501006363584 | 723.3194 | 1.3825 | 123 | 610.1316 | 41010880629352368 | 585.5021 | 1.7079 | 173 | 709.7308 | 25843634514075408 | 323.0858 | 3.0952 | 223 | 793.4695 | 14251187411712752 | 122.5189 | 8.162 | 273 | 862.5869 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 24 | 370.9496 | 54454172379609120 | 818.0914 | 1.2224 | 74 | 497.8575 | 48121897356019232 | 708.5335 | 1.4114 | 124 | 612.2774 | 40726320066850672 | 580.5788 | 1.7224 | 174 | 711.5602 | 25602196226716752 | 318.9085 | 3.1357 | 224 | 794.9876 | 14012490690343952 | 118.3891 | 8.4467 | 274 | 863.8392 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 25 | 373.584 | 55297992757319536 | 832.6908 | 1.2009 | 75 | 500.2802 | 47345138241984224 | 695.0944 | 1.4387 | 125 | 614.417 | 40442571004732896 | 575.6695 | 1.7371 | 175 | 713.3832 | 25373062398307440 | 314.9442 | 3.1752 | 225 | 796.4998 | 13774721522782640 | 114.2753 | 8.7508 | 275 | 865.087 | 7191660545496752 | 0.37839 | 2642.7512
[6 empty] | 64528110000000000 | [7 empty] | 26 | 376.215 | 56140758242482176 | 847.2719 | 1.1803 | 76 | 502.6978 | 47150455430951496 | 691.726 | 1.4457 | 126 | 616.5505 | 40159635226756192 | 570.7743 | 1.752 | 176 | 715.1998 | 25144733802547168 | 310.9937 | 3.2155 | 226 | 798.0061 | 13537876995341104 | 110.1775 | 9.0763 | 276 | 866.3303 | 7191660545496752 | 0.37839 | 2642.7512
|  |  |  | 54407900000000000 | [9 empty] | 27 | 378.8428 | 56982455065958864 | 861.8345 | 1.1603 | 77 | 505.1103 | 46956184447884176 | 688.3649 | 1.4527 | 127 | 618.6778 | 39877514475681936 | 565.8932 | 1.7671 | 177 | 717.01 | 24917210113862160 | 307.0572 | 3.2567 | 227 | 799.5065 | 13301954142332592 | 106.0957 | 9.4255 | 277 | 867.5691 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 28 | 381.4671 | 57823069550788192 | 876.3784 | 1.1411 | 78 | 507.5177 | 46762327550334168 | 685.0108 | 1.4598 | 128 | 620.799 | 39596210453246960 | 561.0262 | 1.7824 | 178 | 718.8138 | 24690490966440768 | 303.1347 | 3.2989 | 228 | 801.0011 | 13066949946037152 | 102.0298 | 9.8011 | 278 | 868.8034 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 29 | 384.088 | 58662588112254496 | 890.9034 | 1.1225 | 79 | 509.9199 | 46568886971794320 | 681.664 | 1.467 | 129 | 622.914 | 39315724820135008 | 556.1733 | 1.798 | 179 | 720.6112 | 24464575954206448 | 299.226 | 3.342 | 229 | 802.4899 | 12832861336667744 | 97.9797 | 10.2062 | 279 | 870.0333 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 30 | 386.7055 | 59500997257957136 | 905.4091 | 1.1045 | 80 | 512.317 | 46375864921680928 | 678.3245 | 1.4742 | 130 | 625.0229 | 39036059195948192 | 551.3347 | 1.8138 | 180 | 722.4022 | 24239464630790624 | 295.3312 | 3.386 | 230 | 803.9728 | 12599685192336480 | 93.9454 | 10.6445 | 280 | 871.2588 | 7191660545496752 | 0.37839 | 2642.7512
| (x-minx)/(maxx-minx)*1000 | [12 empty] | 31 | 389.3195 | 60338283587879616 | 919.8954 | 1.0871 | 81 | 514.7087 | 46183263585316472 | 674.9922 | 1.4815 | 131 | 627.1255 | 38757215159178160 | 546.5103 | 1.8298 | 181 | 724.1868 | 24015156509505520 | 291.4503 | 3.4311 | 231 | 805.45 | 12367418339020512 | 89.9268 | 11.1202 | 281 | 872.48 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 32 | 391.9299 | 61174433794458512 | 934.3621 | 1.0702 | 82 | 517.0953 | 45991085123912152 | 671.6672 | 1.4888 | 132 | 629.2219 | 38479194247177712 | 541.7001 | 1.846 | 182 | 725.9651 | 23791651063317072 | 287.5834 | 3.4773 | 232 | 806.9215 | 12136057550528176 | 85.9239 | 11.6382 | 282 | 873.6968 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 33 | 394.5367 | 62009434662652640 | 948.8089 | 1.054 | 83 | 519.4765 | 45799331674550544 | 668.3496 | 1.4962 | 133 | 631.3121 | 38201997956132080 | 536.9042 | 1.8625 | 183 | 727.7369 | 23568947724817808 | 283.7303 | 3.5245 | 233 | 808.3871 | 11905599548465104 | 81.9367 | 12.2045 | 283 | 874.9094 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 34 | 397.1399 | 62843273070012416 | 963.2355 | 1.0382 | 84 | 521.8525 | 45608005350168256 | 665.0393 | 1.5037 | 134 | 633.3961 | 37925627741030304 | 532.1226 | 1.8793 | 184 | 729.5024 | 23347045886199696 | 279.891 | 3.5728 | 234 | 809.8471 | 11676041002200272 | 77.965 | 12.8263 | 284 | 876.1178 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 35 | 399.7394 | 63675935986748656 | 977.6419 | 1.0229 | 85 | 524.2231 | 45417108239538512 | 661.7365 | 1.5112 | 135 | 635.4739 | 37650085015636688 | 527.3553 | 1.8963 | 185 | 731.2615 | 23125944899227152 | 276.0656 | 3.6223 | 235 | 811.3014 | 11506175188206896 | 75.026 | 13.3287 | 285 | 877.3219 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 36 | 402.3352 | 63815856910721744 | 980.0627 | 1.0203 | 86 | 526.5884 | 45226642407253792 | 658.4412 | 1.5187 | 136 | 637.5454 | 37375371152462096 | 522.6023 | 1.9135 | 186 | 733.0142 | 22905644075209664 | 272.2541 | 3.673 | 236 | 812.75 | 11343853545075872 | 72.2176 | 13.847 | 286 | 878.5219 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 37 | 404.9273 | 63878522692030144 | 981.1469 | 1.0192 | 87 | 528.9483 | 45036609893708456 | 655.1533 | 1.5264 | 137 | 639.6106 | 37101487482735360 | 517.8637 | 1.931 | 187 | 734.7606 | 22686142684974976 | 268.4564 | 3.725 | 237 | 814.1929 | 11182165560533728 | 69.4202 | 14.405 | 287 | 879.7178 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 38 | 407.5156 | 63941096843596240 | 982.2296 | 1.0181 | 88 | 531.3028 | 44847012715081368 | 651.873 | 1.534 | 138 | 641.6696 | 36828435296374784 | 513.1395 | 1.9488 | 188 | 736.5006 | 22467439958841760 | 264.6725 | 3.7783 | 238 | 815.6302 | 11021108711835744 | 66.6336 | 15.0074 | 288 | 880.9096 | 7191660545496752 | 0.37839 | 2642.7512
[14 empty] | 39 | 410.1 | 64003578410009184 | 983.3106 | 1.017 | 89 | 533.6518 | 44657852863318568 | 648.6002 | 1.5418 | 139 | 643.7222 | 36556215841959264 | 508.4297 | 1.9668 | 189 | 738.2343 | 22249535086592560 | 260.9024 | 3.8329 | 239 | 817.0619 | 10860680438889520 | 63.858 | 15.6597
[14 empty] | 40 | 412.6806 | 64065966442877872 | 984.39 | 1.0159 | 90 | 535.9954 | 44469132306115800 | 645.3351 | 1.5496 | 140 | 645.7686 | 36284830326700048 | 503.7343 | 1.9852 | 190 | 739.9616 | 22032427217446672 | 257.1461 | 3.8888 | 240 | 818.488 | 10700878144230864 | 61.0932 | 16.3684
[14 empty] | 41 | 415.2573 | 64128260000836152 | 985.4678 | 1.0147 | 91 | 538.3335 | 44280852986901192 | 642.0776 | 1.5574 | 141 | 647.8087 | 36014279916411728 | 499.0533 | 2.0038 | 191 | 741.6826 | 21816115460033024 | 253.4036 | 3.9463 | 241 | 819.9085 | 10541699192999536 | 58.3391 | 17.1412
[14 empty] | 42 | 417.83 | 64190458149548040 | 986.5439 | 1.0136 | 92 | 540.6662 | 44093016824817912 | 638.8277 | 1.5654 | 142 | 649.8425 | 35744565735483968 | 494.3869 | 2.0227 | 192 | 743.3973 | 21600598882363072 | 249.6748 | 4.0052 | 242 | 821.3235 | 10383140912914960 | 55.5958 | 17.987
[14 empty] | 43 | 420.3987 | 64252559961712928 | 987.6183 | 1.0125 | 93 | 542.9932 | 43905625714706752 | 635.5856 | 1.5734 | 143 | 651.87 | 35475688866852688 | 489.7349 | 2.0419 | 193 | 745.1056 | 21385876511803616 | 245.9598 | 4.0657 | 243 | 822.733 | 10225200594252320 | 52.8632 | 18.9167
[14 empty] | 44 | 422.9635 | 64314564517070832 | 988.6911 | 1.0114 | 94 | 545.3148 | 43718681527088760 | 632.3512 | 1.5814 | 144 | 653.8912 | 35207650351971408 | 485.0974 | 2.0614 | 194 | 746.8076 | 21171947335049808 | 242.2585 | 4.1278 | 244 | 824.137 | 10067875489818128 | 50.1413 | 19.9437
[14 empty] | 45 | 425.5241 | 64376470902407560 | 989.7622 | 1.0103 | 95 | 547.6308 | 43532186108147848 | 629.1245 | 1.5895 | 145 | 655.906 | 34908026710592112 | 479.9135 | 2.0837 | 195 | 748.5034 | 20958810298097888 | 238.5709 | 4.1916 | 245 | 825.5355 | 9911162814926240 | 47.4299 | 21.0837
[14 empty] | 46 | 428.0807 | 64438278211559968 | 990.8316 | 1.0093 | 96 | 549.9411 | 43346141279713448 | 625.9056 | 1.5977 | 146 | 657.9145 | 34569785773925664 | 474.0614 | 2.1094 | 196 | 750.1928 | 20746464306218160 | 234.897 | 4.2572 | 246 | 826.9286 | 9755059747373376 | 44.7291 | 22.3568
[14 empty] | 47 | 430.6331 | 64499985545421168 | 991.8992 | 1.0082 | 97 | 552.2459 | 43297070960795040 | 625.0567 | 1.5999 | 147 | 659.9166 | 34232613088088800 | 468.2278 | 2.1357 | 197 | 751.876 | 20534908223927872 | 231.2368 | 4.3246 | 247 | 828.3163 | 9599563427415392 | 42.0388 | 23.7876
[14 empty] | 48 | 433.1813 | 64561592011945728 | 992.9651 | 1.0071 | 98 | 554.545 | 43251691091441736 | 624.2715 | 1.6019 | 148 | 661.9124 | 33896509764519712 | 462.4127 | 2.1626 | 198 | 753.5529 | 20324140874963936 | 227.5902 | 4.3939 | 248 | 829.6986 | 9444670957742736 | 39.3589 | 25.4072
[14 empty] | 49 | 435.7254 | 64623096726154896 | 994.0292 | 1.006 | 99 | 556.8384 | 43206422971654320 | 623.4883 | 1.6039 | 149 | 663.9019 | 33561476861797744 | 456.6161 | 2.19 | 199 | 755.2235 | 20114161042256128 | 223.9572 | 4.4651 | 249 | 831.0755 | 9290379403456384 | 36.6894 | 27.2558
[14 empty] | 50 | 438.2652 | 64684498810141832 | 995.0915 | 1.0049 | 100 | 559.1262 | 43161267024066536 | 622.707 | 1.6059 | 150 | 665.8849 | 33227515385607200 | 450.8381 | 2.2181 | 200 | 756.8878 | 19904967467899648 | 220.3379 | 4.5385 | 250 | 832.4471 | 9136685792043744 | 34.0303 | 29.3856
[21 empty] | 0.77419 | 1291.6789
[21 empty] | 0.00037839 | 2642751.1837

## Spectral response1
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228 | 2.217e-17
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 | (x-minx)/(maxx-minx)*1000 | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45106555351522816 | 0.69471 | 0.30529 | 1.2715 | 35475688866852688 | 1.4395 | 0.69471 |  | 656.6782 | 0.0015228
45961044490775712 | 0.70787 | 0.29213 | 1.2956 | 35475688866852688 | 1.4127 | 0.70787 |  | 671.4778 | 0.0014893
46814636261898768 | 0.72101 | 0.27899 | 1.3196 | 35475688866852688 | 1.3869 | 0.72101 |  | 686.2618 | 0.0014572
47667315886371312 | 0.73414 | 0.26586 | 1.3437 | 35475688866852688 | 1.3621 | 0.73414 |  | 701.0301 | 0.0014265
48519068677088960 | 0.74726 | 0.25274 | 1.3677 | 35475688866852692 | 1.3382 | 0.74726 |  | 715.7822 | 0.0013971
49369880038433072 | 0.76037 | 0.23963 | 1.3917 | 35475688866852684 | 1.3152 | 0.76037 |  | 730.5181 | 0.0013689
50219735466339664 | 0.77346 | 0.22654 | 1.4156 | 35475688866852688 | 1.2929 | 0.77346 |  | 745.2374 | 0.0013419
51068620548368560 | 0.78653 | 0.21347 | 1.4395 | 35475688866852688 | 1.2714 | 0.78653 |  | 759.94 | 0.0013159
51916520963772608 | 0.79959 | 0.20041 | 1.4634 | 35475688866852688 | 1.2506 | 0.79959 |  | 774.6254 | 0.0012909
52763422483566656 | 0.81263 | 0.18737 | 1.4873 | 35475688866852688 | 1.2306 | 0.81263 |  | 789.2936 | 0.001267
53609310970596736 | 0.82566 | 0.17434 | 1.5112 | 35475688866852688 | 1.2112 | 0.82566 |  | 803.9442 | 0.0012439
54454172379609120 | 0.83867 | 0.16133 | 1.535 | 35475688866852692 | 1.1924 | 0.83867 |  | 818.577 | 0.0012216
55297992757319536 | 0.85167 | 0.14833 | 1.5588 | 35475688866852688 | 1.1742 | 0.85167 |  | 833.1918 | 0.0012002
56140758242482176 | 0.86465 | 0.13535 | 1.5825 | 35475688866852688 | 1.1565 | 0.86465 |  | 847.7884 | 0.0011795
56982455065958864 | 0.87761 | 0.12239 | 1.6062 | 35475688866852688 | 1.1395 | 0.87761 |  | 862.3664 | 0.0011596
57823069550788192 | 0.89056 | 0.10944 | 1.6299 | 35475688866852688 | 1.1229 | 0.89056 |  | 876.9256 | 0.0011403
58662588112254496 | 0.90349 | 0.096513 | 1.6536 | 35475688866852688 | 1.1068 | 0.90349 |  | 891.4659 | 0.0011217
59500997257957136 | 0.9164 | 0.0836 | 1.6772 | 35475688866852688 | 1.0912 | 0.9164 |  | 905.987 | 0.0011038
60338283587879616 | 0.9293 | 0.070705 | 1.7008 | 35475688866852688 | 1.0761 | 0.9293 |  | 920.4886 | 0.0010864
61174433794458512 | 0.94217 | 0.057827 | 1.7244 | 35475688866852688 | 1.0614 | 0.94217 |  | 934.9706 | 0.0010696
62009434662652640 | 0.95503 | 0.044966 | 1.7479 | 35475688866852688 | 1.0471 | 0.95503 |  | 949.4326 | 0.0010533
62843273070012416 | 0.96788 | 0.032124 | 1.7714 | 35475688866852688 | 1.0332 | 0.96788 |  | 963.8745 | 0.0010375
63675935986748656 | 0.9807 | 0.0193 | 1.7949 | 35475688866852688 | 1.0197 | 0.9807 |  | 978.2961 | 0.0010222
63815856910721744 | 0.98286 | 0.017145 | 1.7989 | 35475688866852688 | 1.0174 | 0.98286 |  | 980.7195 | 0.0010197
63878522692030144 | 0.98382 | 0.01618 | 1.8006 | 35475688866852692 | 1.0164 | 0.98382 |  | 981.8048 | 0.0010185
63941096843596240 | 0.98478 | 0.015216 | 1.8024 | 35475688866852688 | 1.0155 | 0.98478 |  | 982.8886 | 0.0010174
64003578410009184 | 0.98575 | 0.014254 | 1.8042 | 35475688866852688 | 1.0145 | 0.98575 |  | 983.9708 | 0.0010163
64065966442877872 | 0.98671 | 0.013293 | 1.8059 | 35475688866852688 | 1.0135 | 0.98671 |  | 985.0513 | 0.0010152
64128260000836152 | 0.98767 | 0.012334 | 1.8077 | 35475688866852692 | 1.0125 | 0.98767 |  | 986.1302 | 0.0010141
64190458149548040 | 0.98862 | 0.011376 | 1.8094 | 35475688866852688 | 1.0115 | 0.98862 |  | 987.2075 | 0.001013
64252559961712928 | 0.98958 | 0.010419 | 1.8112 | 35475688866852688 | 1.0105 | 0.98958 |  | 988.2831 | 0.0010119
64314564517070832 | 0.99054 | 0.0094642 | 1.8129 | 35475688866852688 | 1.0096 | 0.99054 |  | 989.357 | 0.0010108
64376470902407560 | 0.99149 | 0.0085107 | 1.8147 | 35475688866852688 | 1.0086 | 0.99149 |  | 990.4292 | 0.0010097
64438278211559968 | 0.99244 | 0.0075588 | 1.8164 | 35475688866852688 | 1.0076 | 0.99244 |  | 991.4997 | 0.0010086
64499985545421168 | 0.99339 | 0.0066084 | 1.8181 | 35475688866852688 | 1.0067 | 0.99339 |  | 992.5685 | 0.0010075
64561592011945728 | 0.99434 | 0.0056596 | 1.8199 | 35475688866852688 | 1.0057 | 0.99434 |  | 993.6355 | 0.0010064
64623096726154896 | 0.99529 | 0.0047123 | 1.8216 | 35475688866852688 | 1.0047 | 0.99529 |  | 994.7007 | 0.0010053
64684498810141832 | 0.99623 | 0.0037666 | 1.8233 | 35475688866852688 | 1.0038 | 0.99623 |  | 995.7642 | 0.0010043
64745797393076808 | 0.99718 | 0.0028226 | 1.8251 | 35475688866852688 | 1.0028 | 0.99718 |  | 996.8259 | 0.0010032
64806991611212416 | 0.99812 | 0.0018801 | 1.8268 | 35475688866852688 | 1.0019 | 0.99812 |  | 997.8857 | 0.0010021
64868080607888824 | 0.99906 | 0.00093922 | 1.8285 | 35475688866852688 | 1.0009 | 0.99906 |  | 998.9438 | 0.0010011
64929063533538896 | 1 | 0 | 1.8302 | 35475688866852688 | 1 | 1 |  | 1000 | 0.001
64651665524502752 | 0.99573 | 0.0042723 | 1.8224 | 35475688866852688 | 1.0043 | 0.99573 |  | 995.1955 | 0.0010048
63766860909929856 | 0.9821 | 0.0179 | 1.7975 | 35475688866852684 | 1.0182 | 0.9821 |  | 979.8709 | 0.0010205
62883637211620448 | 0.9685 | 0.031502 | 1.7726 | 35475688866852688 | 1.0325 | 0.9685 |  | 964.5736 | 0.0010367
62002006385681792 | 0.95492 | 0.045081 | 1.7477 | 35475688866852688 | 1.0472 | 0.95492 |  | 949.304 | 0.0010534
61121980284568704 | 0.94137 | 0.058635 | 1.7229 | 35475688866852688 | 1.0623 | 0.94137 |  | 934.0621 | 0.0010706
60243570657007296 | 0.92784 | 0.072163 | 1.6982 | 35475688866852688 | 1.0778 | 0.92784 |  | 918.8482 | 0.0010883
59366789147919200 | 0.91433 | 0.085667 | 1.6734 | 35475688866852688 | 1.0937 | 0.91433 |  | 903.6625 | 0.0011066
58491647298345632 | 0.90085 | 0.099145 | 1.6488 | 35475688866852688 | 1.1101 | 0.90085 |  | 888.5053 | 0.0011255
57618156545371392 | 0.8874 | 0.1126 | 1.6242 | 35475688866852688 | 1.1269 | 0.8874 |  | 873.3766 | 0.001145
56746328222048992 | 0.87397 | 0.12603 | 1.5996 | 35475688866852692 | 1.1442 | 0.87397 |  | 858.2767 | 0.0011651
55876173557322496 | 0.86057 | 0.13943 | 1.5751 | 35475688866852688 | 1.162 | 0.86057 |  | 843.2058 | 0.001186
55007703675951744 | 0.8472 | 0.1528 | 1.5506 | 35475688866852688 | 1.1804 | 0.8472 |  | 828.1641 | 0.0012075
54140929598436448 | 0.83385 | 0.16615 | 1.5261 | 35475688866852688 | 1.1993 | 0.83385 |  | 813.1517 | 0.0012298
53275862240940160 | 0.82052 | 0.17948 | 1.5018 | 35475688866852688 | 1.2187 | 0.82052 |  | 798.1689 | 0.0012529
52412512415214144 | 0.80723 | 0.19277 | 1.4774 | 35475688866852688 | 1.2388 | 0.80723 |  | 783.2159 | 0.0012768
51550890828521760 | 0.79396 | 0.20604 | 1.4531 | 35475688866852692 | 1.2595 | 0.79396 |  | 768.2928 | 0.0013016
50691008083562336 | 0.78071 | 0.21929 | 1.4289 | 35475688866852688 | 1.2809 | 0.78071 |  | 753.3998 | 0.0013273
49832874678395104 | 0.7675 | 0.2325 | 1.4047 | 35475688866852692 | 1.3029 | 0.7675 |  | 738.5371 | 0.001354
48976501006363584 | 0.75431 | 0.24569 | 1.3806 | 35475688866852688 | 1.3257 | 0.75431 |  | 723.7049 | 0.0013818
48121897356019232 | 0.74115 | 0.25885 | 1.3565 | 35475688866852688 | 1.3493 | 0.74115 |  | 708.9033 | 0.0014106
47345138241984224 | 0.72918 | 0.27082 | 1.3346 | 35475688866852688 | 1.3714 | 0.72918 |  | 695.45 | 0.0014379
47150455430951496 | 0.72618 | 0.27382 | 1.3291 | 35475688866852688 | 1.3771 | 0.72618 |  | 692.0781 | 0.0014449
46956184447884176 | 0.72319 | 0.27681 | 1.3236 | 35475688866852688 | 1.3828 | 0.72319 |  | 688.7134 | 0.001452
46762327550334168 | 0.72021 | 0.27979 | 1.3182 | 35475688866852692 | 1.3885 | 0.72021 |  | 685.3559 | 0.0014591
46568886971794320 | 0.71723 | 0.28277 | 1.3127 | 35475688866852688 | 1.3943 | 0.71723 |  | 682.0055 | 0.0014663
46375864921680928 | 0.71425 | 0.28575 | 1.3073 | 35475688866852688 | 1.4001 | 0.71425 |  | 678.6624 | 0.0014735
46183263585316472 | 0.71129 | 0.28871 | 1.3018 | 35475688866852684 | 1.4059 | 0.71129 |  | 675.3266 | 0.0014808
45991085123912152 | 0.70833 | 0.29167 | 1.2964 | 35475688866852684 | 1.4118 | 0.70833 |  | 671.9981 | 0.0014881
45799331674550544 | 0.70537 | 0.29463 | 1.291 | 35475688866852688 | 1.4177 | 0.70537 |  | 668.677 | 0.0014955
45608005350168256 | 0.70243 | 0.29757 | 1.2856 | 35475688866852688 | 1.4236 | 0.70243 |  | 665.3632 | 0.0015029
45417108239538512 | 0.69949 | 0.30051 | 1.2802 | 35475688866852688 | 1.4296 | 0.69949 |  | 662.0569 | 0.0015104
45226642407253792 | 0.69655 | 0.30345 | 1.2749 | 35475688866852688 | 1.4356 | 0.69655 |  | 658.7581 | 0.001518
45036609893708456 | 0.69363 | 0.30637 | 1.2695 | 35475688866852688 | 1.4417 | 0.69363 |  | 655.4668 | 0.0015256
44847012715081368 | 0.69071 | 0.30929 | 1.2642 | 35475688866852684 | 1.4478 | 0.69071 |  | 652.183 | 0.0015333
44657852863318568 | 0.68779 | 0.31221 | 1.2588 | 35475688866852688 | 1.4539 | 0.68779 |  | 648.9068 | 0.0015411
44469132306115800 | 0.68489 | 0.31511 | 1.2535 | 35475688866852688 | 1.4601 | 0.68489 |  | 645.6382 | 0.0015489
44280852986901192 | 0.68199 | 0.31801 | 1.2482 | 35475688866852688 | 1.4663 | 0.68199 |  | 642.3772 | 0.0015567
44093016824817912 | 0.6791 | 0.3209 | 1.2429 | 35475688866852688 | 1.4725 | 0.6791 |  | 639.1239 | 0.0015646
43905625714706752 | 0.67621 | 0.32379 | 1.2376 | 35475688866852684 | 1.4788 | 0.67621 |  | 635.8784 | 0.0015726
43718681527088760 | 0.67333 | 0.32667 | 1.2324 | 35475688866852688 | 1.4852 | 0.67333 |  | 632.6405 | 0.0015807
43532186108147848 | 0.67046 | 0.32954 | 1.2271 | 35475688866852688 | 1.4915 | 0.67046 |  | 629.4105 | 0.0015888
43346141279713448 | 0.66759 | 0.33241 | 1.2219 | 35475688866852688 | 1.4979 | 0.66759 |  | 626.1882 | 0.001597
43297070960795040 | 0.66684 | 0.33316 | 1.2205 | 35475688866852688 | 1.4996 | 0.66684 |  | 625.3383 | 0.0015991
43251691091441736 | 0.66614 | 0.33386 | 1.2192 | 35475688866852688 | 1.5012 | 0.66614 |  | 624.5523 | 0.0016011
43206422971654320 | 0.66544 | 0.33456 | 1.2179 | 35475688866852688 | 1.5028 | 0.66544 |  | 623.7683 | 0.0016032
43161267024066536 | 0.66474 | 0.33526 | 1.2166 | 35475688866852692 | 1.5043 | 0.66474 |  | 622.9862 | 0.0016052
43116223665321216 | 0.66405 | 0.33595 | 1.2154 | 35475688866852688 | 1.5059 | 0.66405 |  | 622.2061 | 0.0016072
43071293306066016 | 0.66336 | 0.33664 | 1.2141 | 35475688866852688 | 1.5075 | 0.66336 |  | 621.4279 | 0.0016092
43026476350949192 | 0.66267 | 0.33733 | 1.2128 | 35475688866852688 | 1.509 | 0.66267 |  | 620.6517 | 0.0016112
42981773198615304 | 0.66198 | 0.33802 | 1.2116 | 35475688866852688 | 1.5106 | 0.66198 |  | 619.8774 | 0.0016132
42937184241700960 | 0.66129 | 0.33871 | 1.2103 | 35475688866852684 | 1.5122 | 0.66129 |  | 619.1052 | 0.0016152
42892709866830600 | 0.66061 | 0.33939 | 1.2091 | 35475688866852688 | 1.5138 | 0.66061 |  | 618.3349 | 0.0016172
42848350454612176 | 0.65993 | 0.34007 | 1.2078 | 35475688866852688 | 1.5153 | 0.65993 |  | 617.5666 | 0.0016193
42804106379632944 | 0.65924 | 0.34076 | 1.2066 | 35475688866852688 | 1.5169 | 0.65924 |  | 616.8003 | 0.0016213
42759978010455168 | 0.65856 | 0.34144 | 1.2053 | 35475688866852684 | 1.5185 | 0.65856 |  | 616.036 | 0.0016233
42715965709611888 | 0.65789 | 0.34211 | 1.2041 | 35475688866852684 | 1.52 | 0.65789 |  | 615.2737 | 0.0016253
42672069833602640 | 0.65721 | 0.34279 | 1.2029 | 35475688866852688 | 1.5216 | 0.65721 |  | 614.5134 | 0.0016273
42628290732889232 | 0.65654 | 0.34346 | 1.2016 | 35475688866852688 | 1.5231 | 0.65654 |  | 613.7552 | 0.0016293
42584628751891424 | 0.65586 | 0.34414 | 1.2004 | 35475688866852688 | 1.5247 | 0.65586 |  | 612.999 | 0.0016313
42541084228982736 | 0.65519 | 0.34481 | 1.1992 | 35475688866852688 | 1.5263 | 0.65519 |  | 612.2448 | 0.0016333
42497657496486160 | 0.65452 | 0.34548 | 1.1979 | 35475688866852684 | 1.5278 | 0.65452 |  | 611.4926 | 0.0016353
42454348880669872 | 0.65386 | 0.34614 | 1.1967 | 35475688866852688 | 1.5294 | 0.65386 |  | 610.7425 | 0.0016374
42411158701743032 | 0.65319 | 0.34681 | 1.1955 | 35475688866852692 | 1.5309 | 0.65319 |  | 609.9945 | 0.0016394
42368087273851488 | 0.65253 | 0.34747 | 1.1943 | 35475688866852688 | 1.5325 | 0.65253 |  | 609.2485 | 0.0016414
42157200774800512 | 0.64928 | 0.35072 | 1.1883 | 35475688866852688 | 1.5402 | 0.64928 |  | 605.596 | 0.0016513
41869412867251360 | 0.64485 | 0.35515 | 1.1802 | 35475688866852688 | 1.5508 | 0.64485 |  | 600.6116 | 0.001665
41582428915670848 | 0.64043 | 0.35957 | 1.1721 | 35475688866852684 | 1.5615 | 0.64043 |  | 595.6411 | 0.0016789
41296250867513424 | 0.63602 | 0.36398 | 1.1641 | 35475688866852688 | 1.5723 | 0.63602 |  | 590.6845 | 0.001693
41010880629352368 | 0.63163 | 0.36837 | 1.156 | 35475688866852688 | 1.5832 | 0.63163 |  | 585.742 | 0.0017072
40726320066850672 | 0.62724 | 0.37276 | 1.148 | 35475688866852688 | 1.5943 | 0.62724 |  | 580.8134 | 0.0017217
40442571004732896 | 0.62287 | 0.37713 | 1.14 | 35475688866852688 | 1.6055 | 0.62287 |  | 575.899 | 0.0017364
40159635226756192 | 0.61852 | 0.38148 | 1.132 | 35475688866852688 | 1.6168 | 0.61852 |  | 570.9986 | 0.0017513
39877514475681936 | 0.61417 | 0.38583 | 1.1241 | 35475688866852688 | 1.6282 | 0.61417 |  | 566.1123 | 0.0017664
39596210453246960 | 0.60984 | 0.39016 | 1.1162 | 35475688866852684 | 1.6398 | 0.60984 |  | 561.2402 | 0.0017818
39315724820135008 | 0.60552 | 0.39448 | 1.1082 | 35475688866852688 | 1.6515 | 0.60552 |  | 556.3822 | 0.0017973
39036059195948192 | 0.60121 | 0.39879 | 1.1004 | 35475688866852688 | 1.6633 | 0.60121 |  | 551.5385 | 0.0018131
38757215159178160 | 0.59692 | 0.40308 | 1.0925 | 35475688866852692 | 1.6753 | 0.59692 |  | 546.7089 | 0.0018291
38479194247177712 | 0.59263 | 0.40737 | 1.0847 | 35475688866852692 | 1.6874 | 0.59263 |  | 541.8937 | 0.0018454
38201997956132080 | 0.58837 | 0.41163 | 1.0769 | 35475688866852688 | 1.6996 | 0.58837 |  | 537.0927 | 0.0018619
37925627741030304 | 0.58411 | 0.41589 | 1.0691 | 35475688866852688 | 1.712 | 0.58411 |  | 532.306 | 0.0018786
37650085015636688 | 0.57986 | 0.42014 | 1.0613 | 35475688866852688 | 1.7245 | 0.57986 |  | 527.5337 | 0.0018956
37375371152462096 | 0.57563 | 0.42437 | 1.0535 | 35475688866852684 | 1.7372 | 0.57563 |  | 522.7757 | 0.0019129
37101487482735360 | 0.57142 | 0.42858 | 1.0458 | 35475688866852688 | 1.75 | 0.57142 |  | 518.0321 | 0.0019304
36828435296374784 | 0.56721 | 0.43279 | 1.0381 | 35475688866852684 | 1.763 | 0.56721 |  | 513.3029 | 0.0019482
36556215841959264 | 0.56302 | 0.43698 | 1.0305 | 35475688866852684 | 1.7761 | 0.56302 |  | 508.5881 | 0.0019662
36284830326700048 | 0.55884 | 0.44116 | 1.0228 | 35475688866852688 | 1.7894 | 0.55884 |  | 503.8877 | 0.0019846
36014279916411728 | 0.55467 | 0.44533 | 1.0152 | 35475688866852688 | 1.8029 | 0.55467 |  | 499.2019 | 0.0020032
35744565735483968 | 0.55052 | 0.44948 | 1.0076 | 35475688866852692 | 1.8165 | 0.55052 |  | 494.5305 | 0.0020221
35475688866852688 | 0.54638 | 0.45362 | 1 | 35475688866852688 | 1.8302 | 0.54638 |  | 489.8736 | 0.0020413
35207650351971408 | 0.54225 | 0.45775 | 0.99244 | 35475688866852688 | 1.8442 | 0.54225 |  | 485.2312 | 0.0020609
34908026710592112 | 0.53763 | 0.46237 | 0.984 | 35475688866852688 | 1.86 | 0.53763 |  | 480.0418 | 0.0020832
34569785773925664 | 0.53242 | 0.46758 | 0.97446 | 35475688866852688 | 1.8782 | 0.53242 |  | 474.1835 | 0.0021089
34232613088088800 | 0.52723 | 0.47277 | 0.96496 | 35475688866852688 | 1.8967 | 0.52723 |  | 468.3438 | 0.0021352
33896509764519712 | 0.52205 | 0.47795 | 0.95549 | 35475688866852688 | 1.9155 | 0.52205 |  | 462.5225 | 0.0021621
33561476861797744 | 0.51689 | 0.48311 | 0.94604 | 35475688866852688 | 1.9346 | 0.51689 |  | 456.7198 | 0.0021895
33227515385607200 | 0.51175 | 0.48825 | 0.93663 | 35475688866852688 | 1.9541 | 0.51175 |  | 450.9357 | 0.0022176
32894626288700832 | 0.50662 | 0.49338 | 0.92724 | 35475688866852688 | 1.9739 | 0.50662 |  | 445.1701 | 0.0022463
32562810470863696 | 0.50151 | 0.49849 | 0.91789 | 35475688866852688 | 1.994 | 0.50151 |  | 439.4231 | 0.0022757
32232068778876528 | 0.49642 | 0.50358 | 0.90857 | 35475688866852688 | 2.0144 | 0.49642 |  | 433.6947 | 0.0023058
31902402006479808 | 0.49134 | 0.50866 | 0.89928 | 35475688866852688 | 2.0352 | 0.49134 |  | 427.985 | 0.0023365
31573810894337040 | 0.48628 | 0.51372 | 0.89001 | 35475688866852688 | 2.0564 | 0.48628 |  | 422.2939 | 0.002368
31246296129998704 | 0.48124 | 0.51876 | 0.88078 | 35475688866852688 | 2.078 | 0.48124 |  | 416.6214 | 0.0024003
30919858347865632 | 0.47621 | 0.52379 | 0.87158 | 35475688866852688 | 2.0999 | 0.47621 |  | 410.9675 | 0.0024333
30594498129153024 | 0.4712 | 0.5288 | 0.86241 | 35475688866852688 | 2.1222 | 0.4712 |  | 405.3324 | 0.0024671
30270216001853824 | 0.4662 | 0.5338 | 0.85327 | 35475688866852684 | 2.145 | 0.4662 |  | 399.7159 | 0.0025018
29947012440702480 | 0.46123 | 0.53877 | 0.84416 | 35475688866852688 | 2.1681 | 0.46123 |  | 394.118 | 0.0025373
29624887867138672 | 0.45627 | 0.54373 | 0.83508 | 35475688866852688 | 2.1917 | 0.45627 |  | 388.5389 | 0.0025737
29303842649270848 | 0.45132 | 0.54868 | 0.82603 | 35475688866852688 | 2.2157 | 0.45132 |  | 382.9785 | 0.0026111
28983877101840048 | 0.44639 | 0.55361 | 0.81701 | 35475688866852688 | 2.2402 | 0.44639 |  | 377.4367 | 0.0026495
28664991486183376 | 0.44148 | 0.55852 | 0.80802 | 35475688866852684 | 2.2651 | 0.44148 |  | 371.9137 | 0.0026888
28347186010197808 | 0.43659 | 0.56341 | 0.79906 | 35475688866852688 | 2.2905 | 0.43659 |  | 366.4094 | 0.0027292
28030460828303792 | 0.43171 | 0.56829 | 0.79013 | 35475688866852688 | 2.3164 | 0.43171 |  | 360.9238 | 0.0027707
27714816041408976 | 0.42685 | 0.57315 | 0.78123 | 35475688866852688 | 2.3428 | 0.42685 |  | 355.4569 | 0.0028133
27400251696871824 | 0.422 | 0.578 | 0.77237 | 35475688866852688 | 2.3697 | 0.422 |  | 350.0087 | 0.0028571
27086767788465232 | 0.41717 | 0.58283 | 0.76353 | 35475688866852688 | 2.3971 | 0.41717 |  | 344.5792 | 0.0029021
26774364256340304 | 0.41236 | 0.58764 | 0.75472 | 35475688866852688 | 2.425 | 0.41236 |  | 339.1684 | 0.0029484
26463040986989920 | 0.40757 | 0.59243 | 0.74595 | 35475688866852688 | 2.4536 | 0.40757 |  | 333.7764 | 0.002996
26152797813212464 | 0.40279 | 0.59721 | 0.7372 | 35475688866852688 | 2.4827 | 0.40279 |  | 328.403 | 0.003045
25843634514075408 | 0.39803 | 0.60197 | 0.72849 | 35475688866852688 | 2.5124 | 0.39803 |  | 323.0484 | 0.0030955
25602196226716752 | 0.39431 | 0.60569 | 0.72168 | 35475688866852688 | 2.5361 | 0.39431 |  | 318.8667 | 0.0031361
25373062398307440 | 0.39078 | 0.60922 | 0.71522 | 35475688866852692 | 2.559 | 0.39078 |  | 314.8982 | 0.0031756
25144733802547168 | 0.38726 | 0.61274 | 0.70879 | 35475688866852688 | 2.5822 | 0.38726 |  | 310.9436 | 0.003216
24917210113862160 | 0.38376 | 0.61624 | 0.70237 | 35475688866852692 | 2.6058 | 0.38376 |  | 307.0029 | 0.0032573
24690490966440768 | 0.38027 | 0.61973 | 0.69598 | 35475688866852688 | 2.6297 | 0.38027 |  | 303.0762 | 0.0032995
24464575954206448 | 0.37679 | 0.62321 | 0.68962 | 35475688866852688 | 2.654 | 0.37679 |  | 299.1634 | 0.0033427
24239464630790624 | 0.37332 | 0.62668 | 0.68327 | 35475688866852688 | 2.6787 | 0.37332 |  | 295.2645 | 0.0033868
24015156509505520 | 0.36987 | 0.63013 | 0.67695 | 35475688866852688 | 2.7037 | 0.36987 |  | 291.3795 | 0.003432
23791651063317072 | 0.36643 | 0.63357 | 0.67065 | 35475688866852688 | 2.7291 | 0.36643 |  | 287.5084 | 0.0034782
23568947724817808 | 0.363 | 0.637 | 0.66437 | 35475688866852688 | 2.7549 | 0.363 |  | 283.6513 | 0.0035255
23347045886199696 | 0.35958 | 0.64042 | 0.65811 | 35475688866852692 | 2.781 | 0.35958 |  | 279.808 | 0.0035739
23125944899227152 | 0.35617 | 0.64383 | 0.65188 | 35475688866852692 | 2.8076 | 0.35617 |  | 275.9785 | 0.0036235
22905644075209664 | 0.35278 | 0.64722 | 0.64567 | 35475688866852688 | 2.8346 | 0.35278 |  | 272.163 | 0.0036743
22686142684974976 | 0.3494 | 0.6506 | 0.63948 | 35475688866852688 | 2.8621 | 0.3494 |  | 268.3613 | 0.0037263
22467439958841760 | 0.34603 | 0.65397 | 0.63332 | 35475688866852688 | 2.8899 | 0.34603 |  | 264.5734 | 0.0037797
22249535086592560 | 0.34267 | 0.65733 | 0.62718 | 35475688866852688 | 2.9182 | 0.34267 |  | 260.7993 | 0.0038344
22032427217446672 | 0.33933 | 0.66067 | 0.62106 | 35475688866852692 | 2.947 | 0.33933 |  | 257.039 | 0.0038905
21816115460033024 | 0.336 | 0.664 | 0.61496 | 35475688866852688 | 2.9762 | 0.336 |  | 253.2926 | 0.003948
21600598882363072 | 0.33268 | 0.66732 | 0.60888 | 35475688866852688 | 3.0059 | 0.33268 |  | 249.5599 | 0.0040071
21385876511803616 | 0.32937 | 0.67063 | 0.60283 | 35475688866852684 | 3.0361 | 0.32937 |  | 245.8409 | 0.0040677
21171947335049808 | 0.32608 | 0.67392 | 0.5968 | 35475688866852688 | 3.0667 | 0.32608 |  | 242.1357 | 0.0041299
20958810298097888 | 0.3228 | 0.6772 | 0.59079 | 35475688866852688 | 3.0979 | 0.3228 |  | 238.4442 | 0.0041939
20746464306218160 | 0.31953 | 0.68047 | 0.58481 | 35475688866852688 | 3.1296 | 0.31953 |  | 234.7664 | 0.0042596
20534908223927872 | 0.31627 | 0.68373 | 0.57884 | 35475688866852688 | 3.1619 | 0.31627 |  | 231.1023 | 0.0043271
20324140874963936 | 0.31302 | 0.68698 | 0.5729 | 35475688866852692 | 3.1947 | 0.31302 |  | 227.4519 | 0.0043965
20114161042256128 | 0.30979 | 0.69021 | 0.56698 | 35475688866852688 | 3.228 | 0.30979 |  | 223.8151 | 0.004468
19904967467899648 | 0.30656 | 0.69344 | 0.56109 | 35475688866852688 | 3.262 | 0.30656 |  | 220.1919 | 0.0045415
19696558853128176 | 0.30336 | 0.69664 | 0.55521 | 35475688866852684 | 3.2965 | 0.30336 |  | 216.5823 | 0.0046172
19482692889979824 | 0.30006 | 0.69994 | 0.54918 | 35475688866852688 | 3.3327 | 0.30006 |  | 212.8782 | 0.0046975
19223936206862512 | 0.29608 | 0.70392 | 0.54189 | 35475688866852688 | 3.3775 | 0.29608 |  | 208.3966 | 0.0047985
18966156313265024 | 0.29211 | 0.70789 | 0.53462 | 35475688866852684 | 3.4234 | 0.29211 |  | 203.9319 | 0.0049036
18709351379645616 | 0.28815 | 0.71185 | 0.52739 | 35475688866852692 | 3.4704 | 0.28815 |  | 199.484 | 0.0050129
18453519525175856 | 0.28421 | 0.71579 | 0.52017 | 35475688866852684 | 3.5185 | 0.28421 |  | 195.0531 | 0.0051268
18198658817706608 | 0.28029 | 0.71971 | 0.51299 | 35475688866852692 | 3.5678 | 0.28029 |  | 190.639 | 0.0052455
17944767273734176 | 0.27637 | 0.72363 | 0.50583 | 35475688866852692 | 3.6183 | 0.27637 |  | 186.2416 | 0.0053694
17691842858366336 | 0.27248 | 0.72752 | 0.4987 | 35475688866852688 | 3.67 | 0.27248 |  | 181.861 | 0.0054987
17439883485288432 | 0.2686 | 0.7314 | 0.4916 | 35475688866852688 | 3.723 | 0.2686 |  | 177.4971 | 0.0056339
17188887016729392 | 0.26473 | 0.73527 | 0.48453 | 35475688866852688 | 3.7774 | 0.26473 |  | 173.1499 | 0.0057753
16938851263427952 | 0.26088 | 0.73912 | 0.47748 | 35475688866852688 | 3.8331 | 0.26088 |  | 168.8193 | 0.0059235
16689773984598560 | 0.25705 | 0.74295 | 0.47046 | 35475688866852688 | 3.8904 | 0.25705 |  | 164.5054 | 0.0060788
16441652887897536 | 0.25322 | 0.74678 | 0.46346 | 35475688866852688 | 3.9491 | 0.25322 |  | 160.208 | 0.0062419
16194485629389104 | 0.24942 | 0.75058 | 0.4565 | 35475688866852688 | 4.0093 | 0.24942 |  | 155.9271 | 0.0064133
15948269813511552 | 0.24563 | 0.75437 | 0.44955 | 35475688866852692 | 4.0712 | 0.24563 |  | 151.6627 | 0.0065936
15703002993043168 | 0.24185 | 0.75815 | 0.44264 | 35475688866852688 | 4.1348 | 0.24185 |  | 147.4147 | 0.0067836
15458682669068464 | 0.23809 | 0.76191 | 0.43575 | 35475688866852688 | 4.2002 | 0.23809 |  | 143.1831 | 0.0069841
15215306290944144 | 0.23434 | 0.76566 | 0.42889 | 35475688866852688 | 4.2674 | 0.23434 |  | 138.9679 | 0.0071959
14972871256265216 | 0.2306 | 0.7694 | 0.42206 | 35475688866852688 | 4.3364 | 0.2306 |  | 134.769 | 0.0074201
14731374910831024 | 0.22688 | 0.77312 | 0.41525 | 35475688866852688 | 4.4075 | 0.22688 |  | 130.5863 | 0.0076578
14490814548611408 | 0.22318 | 0.77682 | 0.40847 | 35475688866852688 | 4.4807 | 0.22318 |  | 126.4199 | 0.0079101
14251187411712752 | 0.21949 | 0.78051 | 0.40172 | 35475688866852688 | 4.556 | 0.21949 |  | 122.2696 | 0.0081787
14012490690343952 | 0.21581 | 0.78419 | 0.39499 | 35475688866852692 | 4.6337 | 0.21581 |  | 118.1354 | 0.0084649
13774721522782640 | 0.21215 | 0.78785 | 0.38829 | 35475688866852688 | 4.7136 | 0.21215 |  | 114.0173 | 0.0087706
13537876995341104 | 0.2085 | 0.7915 | 0.38161 | 35475688866852684 | 4.7961 | 0.2085 |  | 109.9152 | 0.0090979
13301954142332592 | 0.20487 | 0.79513 | 0.37496 | 35475688866852684 | 4.8812 | 0.20487 |  | 105.829 | 0.0094492
13066949946037152 | 0.20125 | 0.79875 | 0.36834 | 35475688866852692 | 4.969 | 0.20125 |  | 101.7588 | 0.0098272
12832861336667744 | 0.19764 | 0.80236 | 0.36174 | 35475688866852688 | 5.0596 | 0.19764 |  | 97.7044 | 0.010235
12599685192336480 | 0.19405 | 0.80595 | 0.35516 | 35475688866852688 | 5.1532 | 0.19405 |  | 93.6659 | 0.010676
12367418339020512 | 0.19048 | 0.80952 | 0.34862 | 35475688866852688 | 5.25 | 0.19048 |  | 89.6431 | 0.011155
12136057550528176 | 0.18691 | 0.81309 | 0.3421 | 35475688866852688 | 5.3501 | 0.18691 |  | 85.6359 | 0.011677
11905599548465104 | 0.18336 | 0.81664 | 0.3356 | 35475688866852688 | 5.4537 | 0.18336 |  | 81.6445 | 0.012248
11676041002200272 | 0.17983 | 0.82017 | 0.32913 | 35475688866852692 | 5.5609 | 0.17983 |  | 77.6686 | 0.012875
11506175188206896 | 0.17721 | 0.82279 | 0.32434 | 35475688866852688 | 5.643 | 0.17721 |  | 74.7265 | 0.013382
11343853545075872 | 0.17471 | 0.82529 | 0.31976 | 35475688866852688 | 5.7237 | 0.17471 |  | 71.9151 | 0.013905
11182165560533728 | 0.17222 | 0.82778 | 0.31521 | 35475688866852688 | 5.8065 | 0.17222 |  | 69.1147 | 0.014469
11021108711835744 | 0.16974 | 0.83026 | 0.31067 | 35475688866852688 | 5.8913 | 0.16974 |  | 66.3253 | 0.015077
10860680438889520 | 0.16727 | 0.83273 | 0.30614 | 35475688866852692 | 5.9784 | 0.16727 |  | 63.5467 | 0.015736
10700878144230864 | 0.16481 | 0.83519 | 0.30164 | 35475688866852688 | 6.0676 | 0.16481 |  | 60.7789 | 0.016453
10541699192999536 | 0.16236 | 0.83764 | 0.29715 | 35475688866852688 | 6.1593 | 0.16236 |  | 58.022 | 0.017235
10383140912914960 | 0.15992 | 0.84008 | 0.29268 | 35475688866852692 | 6.2533 | 0.15992 |  | 55.2758 | 0.018091
10225200594252320 | 0.15748 | 0.84252 | 0.28823 | 35475688866852684 | 6.3499 | 0.15748 |  | 52.5403 | 0.019033
10067875489818128 | 0.15506 | 0.84494 | 0.2838 | 35475688866852688 | 6.4491 | 0.15506 |  | 49.8155 | 0.020074
9911162814926240 | 0.15265 | 0.84735 | 0.27938 | 35475688866852692 | 6.5511 | 0.15265 |  | 47.1012 | 0.021231
9755059747373376 | 0.15024 | 0.84976 | 0.27498 | 35475688866852688 | 6.6559 | 0.15024 |  | 44.3975 | 0.022524
9599563427415392 | 0.14785 | 0.85215 | 0.2706 | 35475688866852688 | 6.7638 | 0.14785 |  | 41.7044 | 0.023978
9444670957742736 | 0.14546 | 0.85454 | 0.26623 | 35475688866852688 | 6.8747 | 0.14546 |  | 39.0217 | 0.025627
9290379403456384 | 0.14309 | 0.85691 | 0.26188 | 35475688866852688 | 6.9888 | 0.14309 |  | 36.3494 | 0.027511
9136685792043744 | 0.14072 | 0.85928 | 0.25755 | 35475688866852692 | 7.1064 | 0.14072 |  | 33.6874 | 0.029685
8983587113354304 | 0.13836 | 0.86164 | 0.25323 | 35475688866852688 | 7.2275 | 0.13836 |  | 31.0358 | 0.032221
8831080319575648 | 0.13601 | 0.86399 | 0.24893 | 35475688866852688 | 7.3523 | 0.13601 |  | 28.3944 | 0.035218
8679162325209120 | 0.13367 | 0.86633 | 0.24465 | 35475688866852688 | 7.481 | 0.13367 |  | 25.7632 | 0.038815
8527830007045792 | 0.13134 | 0.86866 | 0.24039 | 35475688866852688 | 7.6138 | 0.13134 |  | 23.1422 | 0.043211
8377080204142128 | 0.12902 | 0.87098 | 0.23614 | 35475688866852688 | 7.7508 | 0.12902 |  | 20.5312 | 0.048706
8226909717795888 | 0.12671 | 0.87329 | 0.2319 | 35475688866852688 | 7.8923 | 0.12671 |  | 17.9303 | 0.055772
8077315311522016 | 0.1244 | 0.8756 | 0.22769 | 35475688866852688 | 8.0384 | 0.1244 |  | 15.3394 | 0.065192
7928293711028352 | 0.12211 | 0.87789 | 0.22349 | 35475688866852688 | 8.1895 | 0.12211 |  | 12.7583 | 0.07838
7779841604191488 | 0.11982 | 0.88018 | 0.2193 | 35475688866852688 | 8.3458 | 0.11982 |  | 10.1872 | 0.098163
7631955641032624 | 0.11754 | 0.88246 | 0.21513 | 35475688866852688 | 8.5075 | 0.11754 |  | 7.6258 | 0.13113
7484632433693312 | 0.11527 | 0.88473 | 0.21098 | 35475688866852688 | 8.675 | 0.11527 |  | 5.0742 | 0.19707
7337868556411392 | 0.11301 | 0.88699 | 0.20684 | 35475688866852688 | 8.8485 | 0.11301 |  | 2.5323 | 0.3949
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496752 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 3.464e-14 | 2.8869e+13
7191660545496750 | 0.11076 | 0.88924 | 0.20272 | 35475688866852688 | 9.0284 | 0.11076 |  | 0 | #DIV/0!